Plumbing jobs at 4550 Via Esperanza

GARAGE:

1) Arrange for having the water that goes to the house’s cold faucets go through the water softener in the garage. At present, only the water going to the water heater goes through the water softener.

BLUE BATHROOM (next to the garage):

2) Fix the hot water faucet in the little blue bathroom next to the garage, using the parts we have left there (salvaged from other bathrooms).

MASTER BATHROOM:

3) Try to fix the intermittent toilet leak, which does not leak that often per day, but you will hear as you fix other things in the master bathroom.

4) Three of the four faucets in the sink area need new valves under the sinks. (Do all 4 valves need to be changed?)

5) Make sure all the faucets at the sinks and bath-tub turn on ad off in the correct directions—consistent with the rest of the house.

6) Adjust the value that activates the hand-held shower so that it is 100% off when turned to make the tub fill with water.

7) Is the intermittent toilet leak in the 2nd floor east bathroom completely fixed?